FORM NO. 11-A

(Prescribed under Rule 61-A)

Report of Examination of Water-sealed gasholder

Registration number	:

Licence number	:

*NIC Code number	:

(as given in the licence)

1.	Occupier (or owner) of premises			:

2.	Address						:

3.	Name, description and distinguishing number	:

or letter and type of gasholder

4.	Name and address of manufacturer			:

5.	(a)	Number of lists				:

(b)	Maximum capacity in cubic meters		:

(c)	Pressure within the gasholder when full of gas:

6.	Name of gas to be stored in the holder		:

7.	Whether the examination was internal or external	:

8.	Parts of the gas-holder examination by 		:

9.	Particulars as to the condition of –

(a)	Crown						:

(b)	Side sheeting, including grips and cups	:

(c)	Guiding mechanism (Roller-carriages,

rollers, pines, guide rails or ropes)

(d)	Tank and					:

(e)	Other structure, if any (columns, framing	:

and bracing).

10.	Particulars as to the position of the lift at the time	:

of examination.

11.	Particulars as to whether the tank and lists were 	:

found sufficiently level for safe working and if not

the steps taken to remedy the defect.

12.	Date of examination and by whom it was carried out:

- (a)	Are all fittings and appliances properly

maintained and in good condition ?

- Repairs, if any required and period within

Which they should be executed.

- Any other condition which the person

making the examination thinks it

necessary for securing safe working.

14.	Other observations

I certify that on (data) ………………………… the gasholder described above was thoroughly examined and such of the tests as were necessary made on the same day and that the above is a true report of my examination.

Signature and name of the

Competent person :

Number and date of the

Competency certificate

Date	:							Issued by]

*National Industrial Classification (NIC)